Meeting Minutes

February 4, 2026

- Meeting Called to Order – Lacey Townsend

- Introductions

COUNCIL MEMBERS

- Lacey Townsend (Treasurer, acting Chair for meeting)

- Maly Haghshenas

- Kelsey Shaw Nakama (Secretary)

- Jon Pampush

- Tom Nygren

- Jesse Dillow

STAFF

- Scott McEwen

- Colleen Walker

GUESTS

- Tacey Steele

- Mark Fitzsimons, guest

- Christina Walter, TVWD & WWSP, presenter

- Jill Chomycia, Stantec & WWSP, presenter

- Brian Creutzburg

- Steph Beall

- Grace Stone

- Review and Approval of Agenda – Lacey Townsend APPROVED

- Water Quantity Speaker Series

SAFEGUARDING THE WILLAMETTE: WILLAMETTE WATER SUPPLY SYSTEM & SOURCE WATER PROTECTION PLAN

Presenters:	Christina Walter, Tualatin Valley Water District Water Resources Manager

Jill Chomycia, Willamette Water Supply Program Deputy Program Manager

- New drinking water supply system bringing from the Willamette River (Wilsonville) into the TVWD system

  - Initially built to deliver 60 million gallons per day of safe drinking water; phased expansion up to 120 million gals per day

  - Ability to deliver to 350,000 more residents

- Secure drinking water future

  - Earthquake resilient for up to 9.1 magnitude event

  - Additional source during a drought

  - Back-up if one source (e.g. Bull Run or Hagg Lake) has water quality issues

- Questions

  - Wastewater

    - From wastewater utilities perspective, must consider water temperature because of TMDL

    - Is there any difference between Willamette’s water temperature vs what the City of Hillsboro is already experiencing

    - Have looked at temperature records from Wilsonville intake with CWS; temp-wise it will look pretty much the same because by the time it goes through the system it gets “temperature washed”

  - Water treatment

    - What are the different challenges that JWC needs to consider for a source from the Willamette

    - TVWD is managing agency; but City of Hillsboro is providing staff for the actual treatment process

    - Maly - large integration process planning that is occurring with this project; difference in quality is being planned for

    - Tacey - new plant will have new treatment technology that JWC plant doesn’t have; recognize that Willamette will have different contaminants so new plants were constructed with that in mind

    - Scott - are their contaminants we can’t treat?

    - Tacey - yes, but we’re installing best available tech to do as much as possible

    - Jon - Scoggins Dam improvements off the table?

      - Tacey - off the table for now based on several factors

- WIF’s Water Quality Monitoring Plan includes a recommendation to perform PFAS screening

  - to-date, PFAS have not been detected in finished water from Wilsonville or Sherwood

- Regarding CWS

  - Physical interface between drinking water and wastewater service areas

  - Regulatory interface

- Questions

  - Kelsey - Who is going to use the finished product? Residential or industrial?

    - They essentially hand off the drinking water to the partners - Hillsboro, Beaverton, TWVD - who then determine where the water ultimately goes

    - Hillsboro - initially going to South Hillsboro, which is mostly residential and some commercial

  - Brian - Water temperature impact on Willamette?

    - Modeled potential impact; will have to mitigate/offset the thermal load; focused on riparian shading work (main project at Molalla State Park)

      - Looking to work outside the impact footprint of CWS

- Public Comment

- No comments

- Approval of December 2025 Minutes  (Prepared by Kelsey Shaw Nakama)

- Approved

- Regional eDNA Science Symposium – March 4, 2026, 10:00 – 12:00 (Seven Council members have signed up for this event, so this symposium will replace our March Council meeting normally scheduled for this day)

- Developing our Watershed Navigator Program – Colleen Walker

        - Stopping the referral carousel for residents with questions or issues concerning different facets of the watershed

- 2026 Steering Committee Slate of Officers (Action Requested)

        - Chair: 		Sara Burke Kral

        - Vice Chair: 	Lisa Huntington

        - Treasurer: 	Lacey Townsend

        - Secretary: 	Kelsey Shaw Nakama

Maly – move to approve the 2026 Steering Committee Slate of Officers

Jesse – seconded the motion

Aye – Greg, Lisa, Sarah, Lacey, Maly, Jess, Tom, Jon, and Rodney

Motion approved

- Adjourn